Invitation to Tender (ITT) for Construction and upgrade of two Water Supply Scheme in Geladin Woreda, Dollo Zone (LOT 1) and Kebribeyha Woreda, Fafan Zone (LOT 2) in Somali Regional State

REF: - SOM-BQP-21787

GOAL is completely against fraud, bribery, and corruption. GOAL does not ask money for bids. If approached for money or other Favors, or if you have any suspicions of attempted fraud, bribery, or corruption please report immediately to email speakup@goal.ie Please provide as much detail as possible with any reports

# About GOAL

Established in 1977, GOAL is an international humanitarian and development agency committed to working with communities to achieve sustainable and innovative early responses to crises and to assist them to build lasting solutions to mitigate poverty and vulnerability. GOAL has worked in over 60 countries and responded to almost every major humanitarian disaster. We are currently operational in 13 countries globally. For more information on GOAL and its operations please visit https://www.goalglobal.org/tenders

GOAL has been working in Ethiopia since 1984, implementing a range of multi-sectoral development and humanitarian programme responding to sudden-onset and protracted crises. Since 2017, GOAL has been one of the primary humanitarian agencies responding to the displacement crises in Ethiopia, operating a large-scale multi-sectoral response across more than 11 Zones in Oromia, Somali, SNNP, Benishangul-Gumuz, and Amhara. Interventions include the treatment of acute malnutrition, mobile health activities, ensuring access to sanitation and water supply facilities, distribution of cash, shelter and non-food items, and psycho social support.

GOAL Ethiopia supports several Water and Sanitation and Health (WASH) projects in various parts of the country providing clean water including small-scale construction projects. One of our objectives is to enter into agreements with potential contractors to further strengthen the implementation of our WASH activities.

# Proposed Timelines

| Line | Item | Date |
| --- | --- | --- |
| 1 | Bids Shared | November 13, 2023 |
| 2 | Closing date for clarifications | November 27, 2023, 04:30 PM GMT +3 East African Time |
| 3 | Closing date and time for receipt of Bids | December 4, 2023, 02:00 PM GMT +3 East African Time |
| 4 | Bid Opening Location | Addis Ababa, GOAL Ethiopia Head Office, Along Gurd Shola Next to Century Mall |
| 5 | Bid Opening Date and time | December 5, 2023, 02:00 PM GMT +3 East African Time |

# Overview of requirements

## Specification for Construction Works

GOAL Ethiopia, an International Humanitarian Organization, invites sealed bids from eligible bidders for the construction of Elevated RCC reservoir, water point and cattle trough construction and maintenance works (Lot 1 and Lot 2) located in Dollo and Fafan zone (Geladin and Kebribeyha Woredas ), in Somali region.

These construction works are divided into Two LOTS as follows:

| CODE | Summary of Main Activities | Location |
| --- | --- | --- |
| Lot-1 | Construction of 50 m3 elevated RCC reservoir & Pipeline line installation, Construction of one (1) water point and Construction of One (1) cattle troughs. | Geladin-03 Kebeles, Geladin Woreda of Dollo Zone, Somali Region, (the site is 130km far from Zonal Town Warder) |
| Lot-2 | Construction of 25 m3 elevated RCC reservoir & Pipeline line installation, Maintenance of existing two water points and three cattle through. | Farda-One Kebele, Kebribeyha Woreda of Fafan Zone, Somali Region, (the site is 71km far from Zonal Town and Regional city Jigjiga) |

Contractors must have Category GC/WWGC, six (6) & above certifications to be eligible to bid on this bid. Prospective contractors must also be able to complete the construction works within Ninety (90) calendar days and the winning bidder(s) will be required to enter into a contract agreement with GOAL Ethiopia.  Contractors can offer their financial offer for both LOT 1 and LOT 2, however, GOAL Ethiopia has a right to give the award to two different contractors per LOT.

## The service being offered must be in line with the following requirements

GOAL would like to see the following issues addressed in the response:

### Technical proposal (completion of Appendix 2)

The bidder is required to show their methodology, equipment, personnel, work schedule and attach related work experience in the technical offer document which will enable them to complete the works with efficiency and time frame. These include the following:

- Schedule Form 1 – Bidders Visit to Work Sites (SF1)

- Schedule Form 2 - Summary of similar works carried out (SF2)

- Schedule Form 3 - Schedule of Intended Work Programme (SF3)

- Schedule Form 4 - Methodology of Work – one-page summary (SF4)

- The bidder shall incorporate in the work methodology the specific sites as well as the type of work he is bidding for.

- The contractor must be aware of the regulations when working with governmental departments/sectors. Please describe in your methodology how you will work in coordination with the government departments as well as the experience you have in working in Somali region.

- Supply of construction materials for elevated reservoir construction, water point and cattle trough construction and maintenance.

- Methodology of performing construction activities for elevated reservoir construction, water point and cattle trough construction and maintenance (including masonry, concrete, pipe laying, plumbing works, plastering, pointing and fencing works). Please describe how you will perform these activities.

- A short description of the team that will manage these works should be included. Also, the experience of the staff in such construction works should be mentioned as well as their CVs.

- The methodology should include a description of construction equipment used (e.g., concrete mixer, hand compactor, dump trucks, vibrator, pick up and dewatering pump).

- About clearing construction sites after completion of work and disposing of all surplus excavated and waste construction materials in an environmentally friendly manner and contractor should be able to do the work as well as leave a decent place after the works.

### Financial Proposal (completion of Appendix 3)

The bidder should fill in their price in the Bill of Quantities (BOQ) for each lot they are bidding for – as well as the summary costs using some or all the following forms:

- Summary of BOQ for Lot-1 (Geladin-03 Kebele, Geladin Woreda)

- BOQ for Geladin-03 Kebeles, Geladin Woreda of Dollo Zone, Somali Region.

- Summary of BOQ for Lot-2 (Farda one Kebele, Kebribeyha Woreda)

- BOQ for Farda-One Kebele, Kebribeyha Woreda of Fafan Zone, Somali Region.

3.2.3 All other documents submitted as per Section 6 of this document.

# Terms of the Procurement

## Procurement Process

### This competition is being conducted under GOALs National Tender Procedure.

### The Contracting Authority for this procurement is GOAL

### This procurement is funded by BHA - Bureau of Humanitarian Assistance and the bid and any contracts or agreements that may arise from it are bound by the regulations of that donor.

## Clarifications and Query Handling

### GOAL has taken care to be as clear as possible in the language and terms it has used in compiling this RFQ. Where any ambiguity or confusion arises from the meaning or interpretation of any word or term used in this document or any other document relating to this bid, the meaning and interpretation attributed to that word or term by GOAL will be final. GOAL will not accept responsibility for any misunderstanding of this document or any others relating to this bid.

### Requests for additional information or clarifications can be made up to the deadline noted in section 2 above, and no later. Any queries about this ITT should be addressed in writing to GOAL Ethiopia via email at clarifications@goal.ie  until November 27, 2023, 04:30 PM GMT +3 East African Time, Please include the reference number SOM-BQP-21787  and words “clarification required” in the subject liner and answers shall be collated and shared to the bidders through GOAL Ethiopia, clarification mail promptly.

## Conditions of Bid Submission

### Bids must be completed in English.

### Bids must respond to all requirements set out in this ITT and complete their offer in the Response Format.

### Failure to submit bids in the required format will, in almost all circumstances, result in the rejection of the bid.  Failure to resubmit a correctly formatted bid within 3 (three) working days of such a request will result in disqualification.

### Bidders must disclose all relevant information to ensure that all bids are fairly and legally evaluated.  Additionally, bidders must provide details of any implications they know or believe their response will have on the successful operation of the contract or on the normal day-to-day operations with GOAL. Any attempt to withhold any information that the bidder knows to be relevant or to mislead GOAL and/or its evaluation team in any way will result in the disqualification of the bid.

### Bids must detail all costs identified in this ITT in Ethiopian Birr (ETB).  Additionally, bids must detail any other costs whatsoever that could be incurred by GOAL in the usage of services and/or the availing of options that may not be explicitly identified/requested in this ITT.  Bidders’ attention is drawn to the fact that, in the event of a Contract/ Framework Agreement being awarded to them, the attempted imposition of undeclared costs will be considered a condition for default.

### Any conflicts of interest (including any family relations to GOAL staff) involving a bidder must be fully disclosed to GOAL particularly where there is a conflict of interest in relation to any recommendations or proposals put forward by the bidder.

### GOAL will not be liable in respect of any costs incurred by respondents in the preparation and submission of bids or any associated work effort.

### GOAL will conduct this bid, including the evaluation of responses and final awards in accordance with the detail set out at in the Evaluation process. Bids will be opened by at least three designated officers of GOAL.

### GOAL is not bound to accept the lowest, or any bid submitted in ITT.

### GOAL reserves the right to split the award of this contract between different bidders in any combination it deems appropriate, at its sole discretion.

### The Supplier shall seek written approval from GOAL before entering any sub-contracts for the purpose of fulfilling this contract. Full details of the proposed subcontracting company and the nature of their services shall be included in the written request for approval. Written requests for approval must be submitted to GOAL.

### GOAL reserves the right to refuse any subcontractor that is proposed by the Supplier.

### GOAL reserves the right to negotiate with the Supplier who has submitted the lowest Bid that fully meets the technical requirements, for the purpose of seeking revisions of such Bid to enhance its technical aspects and/or to reduce the price.

### Information supplied by respondents will be treated as contractually binding.  However, GOAL reserves the right to seek clarification or verification of any such information.

### GOAL reserves the right to terminate this competition at any stage.

### Unsuccessful bidders will be notified.

### GOAL’s standard payment terms are by bank transfer within 30 days after satisfactory implementation and receipt of documents in order. Satisfactory implementation is decided solely by GOAL.

### This document is not construed in any way as an offer to contract.

### GOAL and all contracted suppliers must act in all its procurement and other activities in full compliance with donor requirements. Any contract(s) that arise from this ITT may be financed by multiple donors and those donors and/or their agents have rights of access to GOAL and/or any of its suppliers or contractors for audit purposes. These donors may also have additional regulations that it is not practical to list here. Submission of an offer under this ITT assumes Service Provider acceptance of these conditions.

### Terrorism and Sanctions:  GOAL does not engage in transactions with any terrorist group or individual or entity involved with or associated with terrorism or individuals or entities that have active exclusion orders and/or sanctions against them.  GOAL shall therefore not knowingly purchase supplies or services from companies that are associated in any way with terrorism and/or are the subject of any relevant international exclusion orders and/or sanctions. If you submit a bid based on this request, it shall constitute a guarantee that neither your company nor any affiliate or a subsidiary controlled by your company are associated with any known terrorist group or is/are the subject of any relevant international exclusion order and/or sanctions. A contract clause confirming this may be included in an eventual purchase order based on this request.

### Safeguarding and Code of Conduct: GOAL has strong stand that any person engaged with GOAL business is safe and should never experience abuse of any kind. Thus, suppliers and their staff should uphold safeguarding standards and behaviour in compliance with GOAL Safeguarding Policy and Supplier Code of Conduct. Suppliers are obliged to take orientation on Safeguarding and Supplier Code of Conduct and should sign the policies as part of the agreement.

## Quality Control

3rd party companies may be contracted by GOAL to carry out random quality inspections of work carried out by the contracted party. The cost of the quality control inspections will be covered by GOAL.

In cases of supplier’s quality default, in addition to Liquidated Damages, section XVII of GOAL Standard Terms and Conditions, the costs of the quality inspections and loading surveyor will be charged to the Service Provider.

Sub-contracting: note section II in GOAL Standard Terms and Conditions. GOAL may choose to visit vendors, including sub-contractors (if any) as per of the evaluation process.

## Submission of Bids

Bids must be delivered in one of the following two ways:

- Electronically with your financial and technical offers in separate emails to tenders@goal.ie and in the subject field state:

  - SOM-BQP-21787 Water supply scheme Construction Works

  - Name of your firm with the title of the attachment

  - Number of emails that are sent e.g., 1 of 3, 2 of 3, 3 of 3.

All documents attached to emails must be in PDF or scan form. Any Excel or Word documents must be accompanied by a PDF or scanned version of the document. Documents submitted solely in Excel, word, or other ‘soft copy’ formats shall lead to the bid being rejected.

- If electronic bid submission is not possible, please submit in a sealed envelope marked:

SOM-BQP-21787 Water supply scheme Construction work – not to be opened before December 5, 3:00 PM GMT +3 East African Time by the bid committed’ with all documents including your financial and technical offers to the Private Bid Box at:

GOAL Ethiopia, Addis Ababa Head Office, along Gurd Shola Next to Century Mall

Envelopes may be sent through postal/courier services or delivered by hand; and will be accepted during normal working hours in GOAL Ethiopia (8:30AM to 4:30PM).

Please note that the GOAL office will not be open during weekends or public holidays.

- All bids whether electronic or in hard copy should comprise all the documents requested in Section 6 of this ITT – a check list has been given to assist bidders in providing this complete application.

- Proof of sending is not proof of reception, either electronically or with post/courier/other physical service. Late delivery will result in your bid being rejected. Envelopes found open at the bid opening will be rejected. All information provided must be perfectly legible.

## Bid Opening Meeting

Bids will be opened as per Section 2 Proposed Timelines above at the following location:

GOAL Ethiopia, Addis Ababa Head Office, Along Gurd-Shola Next to Century Mall

One authorized representative of each bidder may attend the opening of the bids. Companies wishing to attend are requested to notify their intention by sending an e-mail at least 48 hours in advance to the following e-mail address: tenders@goal.ie. This notification must be signed by an authorized officer of the bidder and specify the name of the person who will attend the opening of the bids on the bidder's behalf.

Suppliers are invited to attend the Bid Opening Meeting at their own cost.

# Evaluation Process

## 5.1 Evaluation stages

Bidders will be considered for participation in the Contract subject to the following qualification process:

| Phase # | Evaluation Process Stage | The basic requirements with which proposals must comply with |
| --- | --- | --- |
| The first phase of evaluation of the responses will determine whether the bid has been submitted in line with the administrative instructions and meets the essential criteria. Only those bids meeting the essential criteria will go forward to the second phase of the evaluation. |
| 1 | Administrative instructions | Closing Date: Proposals must have met the deadline stated in section 2 of these Instructions to Bidders, or such revised deadline as may be notified to Bidders by GOAL. Bidders must note that GOAL is prohibited from accepting any proposals after that deadline. Submission Method: Proposals must be delivered in the method specified in section 4.5 of this document. GOAL will not accept responsibility for bids delivered by any other method. Responses delivered in any other method may be rejected. Format and Structure of the Proposals: Proposals must conform to the Response Format laid out in section 6 of these Instructions to Bidders or such revised format and structure as may be notified to Bidders by GOAL. Failure to comply with the prescribed format and structure may result in your response being rejected at this stage. Confirmation of the validity of your proposal: The Bidders must confirm that the period of validity of their proposal is not less than 90 (Ninety) days. |
| 2 | Essential Criteria | GC / WWGC six (6) & above, for similar works type - certificate of competency should be attached. Bid Security in the name of GOAL- Ethiopia from a recognized Bank, only in the form of CPO (certified payment order) amounting to 1% of the bid offer for the works should be attached. Contractors shall attach at least two (2) previous good work performance letter from GO/NGO in similar types of works. All works must be completed within 90 (Ninety) days. Confirmation letter about the Site visit by the bidder in the works area confirmed by GOAL ET field office signature & stamp. |
| The second stage of the evaluation will involve an assessment of the Bidders personal and legal circumstances, economic and financial standing, to fulfill the obligations of the contract |
| 3 | Legal, Economic & Financial Criteria | Relevant and Valid licenses to operate in Ethiopia. VAT and TIN registration Financial standing of the company to complete contracts (financial stability) |
| Each proposal that conforms to the Essential and Qualification Criteria will be evaluated according to the Award Criteria given below by GOAL. |
| 4 | Award Criteria | Bids will be awarded marks under each of the award criteria listed in this section to determine the most economically advantageous Bids. Price (35%) Technical/Quality (65%) determined by: Previous work experience from GO/NGO in similar types of works Adequacy of elaborated work plan (Implementation plan) Starting from agreement signed date, all works must be completed within 90 calendar days. Proposed Methodology for the Works, including manpower and equipment used |
| 5 | Post selection | References and other checks are found to be clear, and quality is assessed. |

## 5.2 Bid Evaluation

GOAL will convene an evaluation team which may include members of the Finance, Logistics, Programmes, Donor Compliance, and Internal Audit, as well as 3rd Party technical input.

During the evaluation period, clarifications may be sought by e-mail from Bidders. Clarifications may include testimonials from customers in support of aspects of a bid, whether such aspects are contained in the original submission, or subsequent responses to requests for clarification. Deadlines will be imposed for the receipt of such clarifications and failure to meet these deadlines may result in the disqualification of the bid or loss of marks.  Responses to requests for clarification shall not materially change any of the elements of the proposals submitted. Unsolicited communications from Bidders will not be entertained during the evaluation period.

## 5.3 Award Criteria

### 5.3.1 Price

All prices must be in Ethiopian Birr (ETB) and a comprehensive and clear breakdown of prices must be shown as part of the financial offer – any transport fees, taxes, customs charges, component parts, packing fees, etc. must be shown separately. In this ITT the prices offered in the BOQ forms provided constitute the financial offer.

Marks for cost will be awarded on the inverse proportion principle (shown below):

Score vendor = 35 x (pricemin / price vendor)

Price accounts for 35% of the award criteria.

All financial offers must be made on the basis of the ‘best and final offer’.

### 5.3.2 Technical/Quality

The technical quality of received bids is determined through three main components as follows:

  - Contractors' previous work experience from GO/NGO in similar types of works – primarily information from SF2 and any completion/competency certificates attached – and these may be verified by the evaluation team.

  - Adequacy of elaborated work plan (Implementation plan) – completion of SF3 as well as verification of length of work plan and overall duration of the project

  - Proposed Methodology for the works – completion of SF4 – content analysis by the evaluation team of the one-page summary

Technical/quality assessments account for 65% of the award criteria.

5.3.3 Summary of Award Criteria

| No | Qualitative award criteria | Weighting (maximum points) |
| --- | --- | --- |
| 1. | Price (from BOQ amounts) | 35% |
| 2. | Work experience from GO/NGO in similar types of works. Each project amount shall not be less than 2.5 million Birr, 30% | 30% |
|  | 2.1. 15% for 2 years |  |
|  | 2.2. 20% for 3 years |  |
|  | 2.3. 25% for 4 years |  |
|  | 2.4. 30% for 5 years |  |
| 3. | Adequacy of elaborated work plan (Implementation plan) (15%) |  |
|  | 3.1 Construction work/activity schedule | 5% |
|  | 3.2 Material schedule | 5% |
|  | 3.3 Personnel and labour schedule | 2.5% |
|  | 3.4 Equipment and Tools Schedule | 2.5% |
| 4 | Work methodology (20%) |  |
|  | 4.1 Excavation and earth work | 5% |
|  | 4.2 Concrete work and Form work | 5% |
|  | 4.3 Pipe Works | 5% |
|  | 4.4 Accessories and Fittings | 5% |
|  | Total number of points | 100% |

## 5.4 Award of contract

As per section 5.3 above and following the analysis of bids against the award criteria laid out above in sections 5.3.3. contracts may be awarded to one supplier or divided between multiple suppliers at GOAL’s discretion. For such purposes, GOAL uses a Value for Money approach, which may include (but is not limited to) price, quality, lead time, context, and risk analysis of the supply chain environment pertaining to the contract delivery.

# 6. Response Format

## 6.1 Introduction

All proposals must conform to the response format laid out below. Where a bid does not conform to the required format the Bidder may be requested to resubmit it in the correct format, on the understanding that the resubmission cannot contain any material change from the original. Failure to resubmit in the correct format within 3 (three) working days may result in disqualification.

By responding to this ITT, each Bidder is required to accept the terms and conditions of this ITT and to acknowledge and confirm their acceptance by returning a signed copy with its response.  Should a Bidder not comply with these requirements, GOAL may, at their sole discretion, reject the response.

If the Bidder wishes to supplement their Response to any section of the ITT specifications with a reference to further supporting material, this reference must be clearly identified, including section and page number.

## 6.2 Other Documents Required

### 6.2.1 Company Documents

All submissions must be made with copies of the following documents included:

- Company Registration Certificate

- Trade Licence

- Category GC / WWGC six (6) & above for similar works type - certificate of competency should be attached.

- TIN Certificate

- VAT registration Certificate

This is so GOAL can ascertain that the company has legal and trading ability in Ethiopia.

### 6.2.2 Bid Security

A bid bond in the form of CPO in the amount of 1% (one percent) of the total bid amount, valid for Ninety (90) calendar days from the date of bid opening is required.  The company must calculate the correct bid bond from its submission in the financial offer (BOQ completion).  Any bid not accompanied by an acceptable bid security shall be rejected by GOAL as "non-responsive".  If a bid security contains minor errors that require simple correction, GOAL may, at its sole discretion, allow the respective Bidder, via a written notice, a fixed time period within which the bid security may be corrected and re-submitted.

### 6.2.3 Audited Accounts

Bidders need to submit an audited account for the last three fiscal years regarding their past performance which details that the auditing is accomplished by certified accountants or a mandated body to perform auditing.  Audited accounts from 2020 to 2022 are required.

### 6.2.4 Appendices

This is to remind all bidders that Appendix 1 needs to be completed IN FULL.  Appendix 2 is your technical offer and relevant forms completed depending on the Lots the company has bid on – similar to Appendix 3 as the financial offer.  Appendix 4 are the plans/drawings that must be followed.  Appendix 5 Standard Terms and Conditions need to be initialled or signed and returned with your application.

## 6.3 Submission Checklist

| Line | Item | How to submit | Tick attached |
| --- | --- | --- | --- |
|  |  | Electronic submission | Physical submission |  |
| 1 | This checklist | Ticked, scan and save as ‘Checklist’ | Tick and submit. |  |
| 2 | Company Details (appendix 1) – this includes the Declaration of Finance and Tax | Complete, sign & stamp, scan, and save as ‘Company Details’ | Complete, sign, stamp, and submit. |  |
| 3 | Technical Offer (Appendix 2) Comprising of: | Complete, sign & stamp, scan, and save as ‘Technical Offer’ | Complete, sign, stamp, and submit. |  |
| a) | SF1B Bidders site visit | Complete, scan and save as individual forms (SF1A, etc) OR scan all forms into one PDF and save as ‘Technical Offer Standard Forms’ | Complete and submit |  |
| b) | SF2 Summary of Executed Works |  | Complete and submit |  |
| c) | Comp Certificates/ Testimonies |  | copy and submit |  |
| d) | SF3A Work-plan – |  | Complete and submit |  |
| e) | SF4B Methodology – |  | Complete and submit |  |
| 4 | Financial Offer (Appendix 3) Comprising of: | Complete, sign & stamp, scan, and save as ‘Financial Offer’ | Complete, sign, stamp, and submit. |  |
| a) | Summary of BOQ for Elevated Reservoir construction, water points and cattle trough construction and maintenance-works from the existing water supply scheme to targeted Geladin-03 kebele of Geladin Woreda and and Farda one Kebeles Kebribeyha Woreda of somali region. | Complete, sign & stamp, scan, and save as ‘BOQ for Water Supply Scheme Construction Works’ | Complete, sign, stamp, and submit. |  |
| 7 | Company Registration Certificate | Scan and save as ‘Com Reg Cert’ | Copy and submit |  |
| 8 | Trade Licence | Scan and save as ‘Trade Licence’ | Copy and submit |  |
| 9 | GC / WWGC six (6) & above, for similar works type - certificate. | Scan and save as ‘Works’ level Cert’ | Copy and submit |  |
| 10 | TIN Certificate | Scan and save as ‘TIN Cert’ | Copy and submit |  |
| 11 | VAT registration Certificate | Scan and save as ‘VAT Cert’ | Copy and submit |  |
| 12 | Copies of the last financial year's AUDITED financial accounts (2022, 2021, 2020) | Attach copies of audited accounts and save as ‘Financial Accounts | Submit copies of audited accounts. |  |

# Appendix 1 - Company details

# Contact Details

This section must include the following information regarding the Individual or Company and any partners or sub-contractors:

| Name of the prime Bidder |  |
| --- | --- |
| The registered address of the prime Bidder |  |
| Company Name |  |
| Address |  |
| Previous Name(s) if applicable |  |
| Registered Address if different from above |  |
| Registration Number |  |
| Telephone |  |
| E-mail address |  |
| Website address |  |
| Year Established |  |
| Legal Form. Tick the relevant box | ( Company ( Partnership | ( Joint Venture ( Other (specify): |
| VAT/TVA/Tax Registration Number |  |
| Director’s names and titles and any other key personnel |  |
| Please state the name of any other persons/organizations (except the bidder) who will benefit from this contract |  |
| Parent company |  |
| Ownership |  |
| Do you have associated companies? Tick the relevant box. If YES – provide details for each company in the form of an additional table as per Contact Details | (Yes (No |
|  | Primary Contact | Secondary Contact |
| Name |  |  |
| Current Position in the Organisation: |  |  |
| No. of years working with the Organisation: |  |  |
| Email address |  |  |
| Telephone |  |  |
| Mobile |  |  |
| Other Relevant Skills: |  |  |
| Institution (Date from-to) |  |  |
| Degrees or Diplomas |  |  |

## 6.4 Professional or Corporate Memberships

These are with external professional bodies that your company is registered with (please note this is not the company/ business registration details). Please attach copies of any relevant certificates or memberships and use more lines if necessary:

| No | Name of the body | Year of registration | Membership Number |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |

## 6.5 Profile

Bidders should note that the information requested below will be required under the Essential Criteria. In total, the answers to these questions should take no more than 2 pages.

| No | Description | Response |
| --- | --- | --- |
| 1 | An outline of the scope of business activities, and in particular details of relevant experience regarding contracts of this nature |  |
| 2 | Provide details of two contracts of a similar nature carried out in the last two years (please state customer name, delivery location, the value of the contract, and dates) |  |
| 3 | The number of years the Bidder has been in business in its present form |  |
| 4 | A statement of overall turnover and turnover with respect to the goods and services offered under the proposed agreement for the last three years as per the following table: |
|  | Year | Overall Turnover in Ethiopian Birr (ETB) | Offered Works Turnover in Ethiopian Birr (ETB) |
|  | 2022 |  |  |
|  | 2021 |  |  |
|  | 2020 |  |  |
| 5 | Where the Supplier proposes to use subcontractors or resellers/ distributors in the execution of the agreement this section should include details of the quality assurance mechanisms used by the Supplier to monitor the activities of its subcontractors or resellers/ distributors. Suppliers should note that commitment to quality, as evidenced by the existence of such quality control procedures, will be used as a Qualification Criteria |  |
| 6 | Any other relevant information |  |

## 6.6 References

At least 2 (two) relevant references who may be contacted on a confidential basis to verify the satisfactory execution of contracts must be supplied. These references may not be GOAL personnel or related to a GOAL contract. Respondents should supply this information for each of the references in the following format:

| 1 | Name |  |
| --- | --- | --- |
|  | Organization |  |
|  | Address |  |
|  | Phone |  |
|  | Fax |  |
|  | Email |  |
|  | Nature of supply |  |
|  | Approximate value of the contract |  |
| 2 | Name |  |
|  | Organization |  |
|  | Address |  |
|  | Phone |  |
|  | Fax |  |
|  | Email |  |
|  | Nature of supply |  |
|  | Approximate value of the contract |  |
| 3 | Name |  |
|  | Organization |  |
|  | Address |  |
|  | Phone |  |
|  | Fax |  |
|  | Email |  |
|  | Nature of supply |  |
|  | Approximate value of contract |  |
| 4 | Name |  |
|  | Organization |  |
|  | Address |  |
|  | Phone |  |
|  | Fax |  |
|  | Email |  |
|  | Nature of supply |  |
|  | Approximate value of contract |  |

By including the above information, bidders confirm that they have consent from the data subject to share this information with GOAL for the purpose of providing a reference, to allow GOAL to analyse offers and award a contract under this bid; and that the data subject understands that the personal data may be shared internally within GOAL and externally if required by law and donor regulations; and may be stored for a period of up to 7 years from the award of contract.

# 7. Declaration re Personal and Legal circumstances

| THIS FORM MUST BE COMPLETED AND SIGNED BY A DULY AUTHORISED OFFICER OF THE BIDDERS’ ORGANISATION. Please tick Yes or No as appropriate to the following statements relating to the current status of your organization | Yes | No |
| --- | --- | --- |
| 1 | The Bidder is bankrupt or is being wound up or its affairs are being administered by the court or has entered into an arrangement with creditors or has suspended business activities or is in any analogous situation arising from a similar procedure under national laws and regulations |  |  |
| 2 | The Bidder is the subject of proceedings for a declaration of bankruptcy, for an order for compulsory winding up or administration by the court or for an arrangement with creditors or of any other similar proceedings under national laws and regulations |  |  |
| 3 | The Bidder, a director or Partner, has been convicted of an offence concerning his professional conduct by a judgement which has the force of res judicata or been guilty of grave professional misconduct in the course of their business |  |  |
| 4 | The Bidder has not fulfilled its obligations relating to the payment of taxes or social security contributions in Ireland or any other State in which the bidder is located |  |  |
| 5 | The Bidder, a director or Partner has been found guilty of fraud |  |  |
| 6 | The Bidder, a director or Partner has been found guilty of money laundering |  |  |
| 7 | The Bidder, a director or Partner has been found guilty of corruption |  |  |
| 8 | The Bidder, a director or Partner has been convicted of being a member of a criminal organization |  |  |
| 9 | The Bidder, a director or Partner is under investigation, or has been sanctioned within the preceding three (3) years by any national authority of a United Nations Member State for engaging or having engaged in proscribed practices, including but not limited to: corruption, fraud, coercion, collusion, obstruction, or any other unethical practice. |  |  |
| 10 | The Bidder has been guilty of serious misrepresentation in providing information to a public buying agency |  |  |
| 11 | The Bidder has contrived to misrepresent its Health & Safety information, Quality Assurance information, or any other information relevant to this application |  |  |
| 12 | The Bidder has colluded between themselves and other bidders (a bidding ring), and/or the Bidder has had improper contact or discussions with any member of GOAL staff and/or members of their family |  |  |
| 13 | The Bidder is fully compliant with the minimum terms and conditions of the Employment Law and with all other relevant employment legislation, as well as all relevant Health & Safety Regulations in the countries of registration and operations |  |  |
| 14 | The Bidder has procedures in place to ensure that subcontractors, if any are used for this contract, apply the same standards. |  |  |
| 15 | Consistent with numerous United Nations Security Council resolutions including S/RES/1269 (1999), S/RES/1368 (2001) and S/RES/1373 (2001), GOAL is firmly committed to the international fight against terrorism, and in particular, against the financing of terrorism. It is the policy of GOAL to seek to ensure that none of its funds are used, directly or indirectly, to provide support to individuals or entities associated with terrorism. In accordance with this policy, the Bidder undertakes to use all reasonable efforts to ensure that it does not provide support to individuals or entities associated with terrorism. |  |  |
| I certify that the information provided above is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this declaration may lead to my organization being excluded from participation in future bids. |
| Date |  |
| Name |  |
| Position |  |
| Telephone number |  |
| Signature and full name |  |

# self-declaration of finance and tax

| Turnover history |
| --- |
| Turnover figures entered into the table must be the total sales value before any deductions. ‘Turnover of related products’ is for companies that provide items or services in multiple sectors. Please enter information on turnover of items or services that are similar in nature to the items or services requested under this bid. |
| Trading year | Total turnover | Turnover of related works |
| 2022 |  |  |
| 2021 |  |  |
| 2020 |  |  |
| Include a short narrative below to explain any trends year to year. -- |
| GOAL operates within the law of the country of operation and within international legal requirements. GOAL expects all companies to fulfil their legal obligations, including meeting their tax liabilities and duties in accordance with the relevant tax legislation. Please comment below if you feel there are any matters you need to bring to GOAL’s attention. |
| Please continue on a separate sheet if necessary. |

I certify that the information provided above is accurate and complete to the best of my knowledge and belief.  I understand that the provision of inaccurate or misleading information in this declaration may lead to my organisation being excluded from participation in future bids.

Signed: (Director) 	_________________________________________

Date:  	_________________________________________

Print Name:	_________________________________________

Company Name:  	_________________________________________

Address:	_________________________________________

# Appendix 2 - Technical Offer

Name of Company: ______________________________________________

Indicate with YES/NO which LOTS the bid documentation is provided for (If more than one lot):

| CODE | Summary of Main Activities | Location | Yes/No |
| --- | --- | --- | --- |
| Lot 1 | Construction of 50 m3 elevated RCC reservoir & Pipeline installation, Construction of one (1) water point and Construction of one (1) cattle troughs. | Geladin-03 Kebeles, Geladin Woreda of Dollo Zone, Somali Region |  |
| Lot 2 | Construction of 25 m3 elevated RCC reservoir & Pipeline installation, Maintenance of existing two water points and three cattle through. | Farda-One Kebele, Kebribeyha Woreda of Fafan Zone, Somali Region |  |

“By submitting this offer, I confirm that all data subjects have specifically consented to the use and storage of their data by GOAL for the purpose of analyzing the offers and awarding a contract under this bid; and further understood that the personal data may be shared internally within GOAL and externally if required by law and donor regulations; and may be stored for a period of up to 7 years from the award of contract.”

Signed: (Director) 	_________________________________________

Date:  	_________________________________________

Print Name:	_________________________________________

Company Name:  	_________________________________________

Address:	_________________________________________

SCHEDULE OF FORMS (STANDARD   FORMAT)

CERTIFICATE OF BIDDER’S VISIT TO THE WORK SITES

SCHEDULE FORM 1A [SF1A]

For Water Supply Scheme construction works for :

- Geladin-03 Kebeles, Geladin Woreda of Dollo Zone, Somali Region.

- Farda-One Kebele, Kebribeyha Woreda of Fafan Zone, Somali Region

| S/No. | Description | Geladin-03 Kebeles, Geladin Woreda of Dollo Zone, Somali Region | Farda-One Kebele, Kebribeyha Woreda of Fafan Zone, Somali Region |
| --- | --- | --- | --- |
| 1 | Date/ Duration of Visit |  |  |
| 2 | Site (s) Visited |  |  |
| 3 | Visitor’s Name (CONTRACTOR) Name: Signature: |  |  |
| 4 | Visitor’s Guide (Client/EMPLOYER) Name: Signature: Stamp: |  |  |
| 5. | Remarks |  |  |

Name of Bidder’s representative visiting site: ___________________________________

Signature: ___________________________________

Official Seal: _________________________________

DATE: ______________________________________

SUMMARY OF EXECUTED WORKS CARRIED OUT BY THE BIDDER

SCHEDULE FORM 2 [SF2]

For Water supply scheme Construction Works and Upgrade

| NO. | Type of construction work | Employer/Client | Value of Contract (In Birr) | Duration (weeks) | Dates (From-to) | Please put YES if the construction is done by your own company or NO if it is outsourced. | Reason for not the construction is done by your company/ Reason for outsourced. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |

Date: ___________________________ Signature: _______________________

Company: _________________________Official Seal: _______________________

SCHEDULE OF INTENDED WORK PROGRAM

SCHEDULE FORM 3A [SF3].

For Water supply scheme Construction Works and Upgrade

Lot Number: 1 (use this form)

|  | WORK ITEM | Duration in Days | Weeks |
| --- | --- | --- | --- |
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 |
| 1 | Advance processing, Site Handing over |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Construction input/material and man power mobilization |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Pipe line alignment and trench excavation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Pipe & fitting installation works (plumbing work) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Masonry works |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Reinforcement and Concrete works |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Miscellaneous and finishing works |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Fencing work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Line test works |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Handing Over |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Note: Use bars to fill chart

Based on the dates given in Section 2 of the ITT please estimate:

| Earliest possible Contract signing date |  |
| --- | --- |
| Earliest possible actual work commencement date |  |
| Time required for the execution of the WORKS |  |

Date of WORKS commencement is 2 days after ‘’order to commence’’ is received by the CONTRACTOR.

SIGNATURE: ____________________    OFFICIAL SEAL: _____________________

DATE: ____________________

AT LEAST ONE PAGER METHODOLOGY OF WORK

SCHEDULE 4B[SF4B]

For Water supply scheme construction works and Upgrade

Date: ___________________________ Signature: ______________________

Official Seal: _______________________

# Appendix 3 - Financial Offer

BILL OF QUANTITIES AND

SPECIFICATIONS

Summary of Bill of Quantities and Specifications for Construction of 50 m3 elevated RCC reservoir & Pipeline installation, one water point and one cattle trough construction works to upgrade existing water supply scheme, for Geladin-03 Kebeles of Geladin Woreda of Dollo Zone, Somali Region

Project Price Summary

- 50 M3 Elevated RCC reservoir & pipeline network, ETB____________

- Construction of One Water Point, ETB____________________

- Construction of One Cattle Trough, ETB___________________________

Total for the project, ETB_______________________________________________

Rebate (____%), ETB ____________________________________________________

Total after Rebate, ETB _________________________________________________

15% VAT, ETB __________________________________________________________

Grand Total after Rebate and VAT for the project, ETB _________________

| I. 50m3 RCC Elevated reservoir for Geladin-03 Kebele of Geladin Woreda, Dollo Zone |
| --- |
| S/No | Description of works | Unit | Qty. | Unit Rate | Total Amount |
|  | 1. Excavation and Earth Work |  |  |  |  |
| 1.1 | Site clearing & grubbing up to a average depth of 20 cm to remove top vegetated soil | m2 | 49.00 |  |  |
| 1.2 | Bulk excavation in all soil formation to depth not greater than 1.5m for the isolated footing | m3 | 25.00 |  |  |
| 1.3 | Ditto but to depth upto 2.5m | m3 | 20.00 |  |  |
| 1.4 | Cart away excavated material, deposit and spread to appropriate distance not exceeding 1 km | m3 | 55.00 |  |  |
| 1.5 | Fill 150 mm thick hard trachyte stone hard core to reservoir foundation and valve chamber, including for sloping section | m2 | 20.00 |  |  |
| 1.6 | Selected material fill and compaction for foundation with 25cm working space in both sides | m3 | 50.00 |  |  |
|  | Sub-Total (1) | Birr |  |  |  |
|  | 2. Concrete Work |  |  |  |  |
| 2.1 | The price for concrete shall include the cost of labor, equipment, supply of materials as well as mixing, placing and curing |  |  |  |  |
| 2.2 | Class C-15 concrete blinding layers 5cm. thick to reservoir and valve room, including for sloping section | m2 | 20.00 |  |  |
| 2.3 | Class C-30 in isolated foundation pads | m3 | 3.60 |  |  |
| 2.4 | Ditto but in Columns | m3 | 4.60 |  |  |
| 2.5 | Ditto but in Bracing | m3 | 2.10 |  |  |
| 2.6 | Class C-30 Bottom ring beam | m3 | 2.10 |  |  |
| 2.7 | Ditto but in Intermediate beam C 30 | m3 | 0.45 |  |  |
| 2.8 | Ditto but in Bottom Slab of reservoir C 30 | m3 | 5.50 |  |  |
| 2.9 | Ditto but in Wall of reservoir C 30 | m3 | 10.50 |  |  |
| 2.10 | Ditto but in Dome of reservoir (top) C 30 | m3 | 3.76 |  |  |
| 2.11 | Reinforcement bar work |  |  |  |  |
| 2.12 | Class I Reinforcement Steel (T = 1400 Kg/Cm2) |  |  |  |  |
| 2.13 | Supply cut, bend and fix in position high yield steel reinforcement bars of dia 8mm |  |  |  |  |
|  | a) 8 mm. dia | kg | 450.00 |  |  |
|  | b) 10 mm. dia | kg | 607.00 |  |  |
|  | c) 12 mm. dia | kg | 480.00 |  |  |
|  | d) 14 mm. dia | kg | 1674.00 |  |  |
|  | e) 16 mm. dia | kg | 2100.00 |  |  |
|  | Sub-Total (2) | Birr |  |  |  |
|  | 3. Form work |  |  |  |  |
|  | 3.1 Supply, fix and remove form work for footing pads,columns, slab, wall, dome and beams |  |  |  |  |
|  | 3.1.1 Footing pads | m2 | 10.00 |  |  |
|  | 3.1.2 Columns | m2 | 75.00 |  |  |
|  | 3.1.3 Bracing beams | m2 | 38.40 |  |  |
|  | 3.1.4 Ring beam | m2 | 18.80 |  |  |
|  | 3.1.5 Intermediate beam | m2 | 9.45 |  |  |
|  | 3.1.6 Slab (bottom) | m2 | 28.00 |  |  |
|  | 3.1.7 Concrete wall | m2 | 104.00 |  |  |
|  | 3.1.8 Dome (top slab) | m2 | 16.00 |  |  |
|  | Sub-Total (3) | Birr |  |  |  |
|  | 4. Pipe Works |  |  |  |  |
| 4.1 | Supply and installation of inlet pipe in GS pipe DN 3" (80mm) , as shown in the drawing. | m | 18.00 |  |  |
| 4.2 | Supply and installation of outlet pipe in GS pipe DN 3" (80mm) , as shown in the drawing. | m | 18.00 |  |  |
| 4.3 | Supply and installation of drainage and overflow pipes in GS pipe DN 3" (80mm) , as shown in the drawing. | m | 18.00 |  |  |
| 4.4 | Construct outlet Valve chamber in 10cm thick RC wall ,inside dimension 80cmx80cmx100cm and 7cm thick cover and as shown in the drawing, | LS | 1.00 |  |  |
| 4.5 | Ditto but drainage and overflow Valve chamber in 10cm thick RC wall ,inside dimension 80cmx80cmx100cm and 7cm thick cover and as shown in the drawing, | LS | 1.00 |  |  |
|  | Sub-Total (4) | Birr |  |  |  |
|  | 5.Miscellaneous |  |  |  |  |
| 5.1 | Supply and build-in Complete DN 100mm GS ventilation pipe as detailed | m | 2.00 |  |  |
| 5.2 | Provide and install 300mm wide water stop made of natural or synthetic rubber or elastomeric plastic compound with basic risen polyenyl chloride (PVC) | m | 45.77 |  |  |
| 5.3 | Supply and fix steel ladder with 1 1/2" GI pipe with extended stringers 40cm C/C and 60cm width for reservoir and valve room as shown in the drawing | m | 15.00 |  |  |
|  | Sub-Total (5) | Birr |  |  |  |
|  | 6. Accessories and finishing |  |  |  |  |
| 6.1 | Provide and apply 50 mm cement screed to the reservoir floor and roof slab to valve chamber | m2 | 50.00 |  |  |
| 6.2 | Provide and apply 3 coats of plaster to internal walls and to embedded part of external wall surface | m2 | 53.85 |  |  |
| 6.3 | Rendering external wall | m2 | 53.85 |  |  |
| 6.4 | Leakage test for reservoir & pipe work | LS | 1.00 |  |  |
| 6.5 | Supply and install Bypass chlorination Equipment at the top slab of the reservior or outlet point (wherever applicable), complete with baffle and weir plate, able to transmit a minimum of 30.8m3/hr flow rate, 0.5 to 6bar operating pressure, installed below ground as an inline fitting along the 3" GI pressure main line in agreement with the supervising Engineer. | LS | 1.00 |  |  |
|  | Sub-Total (6) | Birr |  |  |  |
|  | Total for 50 m3 RCC reservoir | Birr |  |  |  |

| III. Pipeline Network Installation |
| --- |
| S/No | Description of works | Unit | Qty. | Unit Rate | Total Amount |
|  | 1. Excavation and Earth Work |  |  |  |  |
| 1.1 | Trench excavation in hard soil and rock formation to an average depth of 80cm and width of 60cm | M | 350 |  |  |
| 1.2 | Backfill and compact all excavated materials | M | 350 |  |  |
|  | Sub-Total (1) | Birr |  |  |  |
|  | 2. Pipeline network installation |  |  |  |  |
| 2.1 | Supply, join and laying of pipe and fittings |  |  |  |  |
| 2.2 | G.I.S pipe, class-B and 3'' in diameter | M | 100 |  |  |
| 2.3 | G.I.S pipe, class-B and 2'' in diameter | M | 200 |  |  |
| 2.4 | G.I.S pipe, class-B and 1 1/2'' in diameter | M | 50 |  |  |
| 2.5 | G.I.S coupling 2'' | Pcs | 20 |  |  |
| 2.6 | G.I.S union, 2'' | Pcs | 10 |  |  |
| 2.7 | G.I.S elbow 90 degree | Pcs | 10 |  |  |
| 2.8 | G.I.S reducer 3'' to 2'' | Pcs | 1 |  |  |
| 2.9 | G.I.S reducer 2'' to 1 1/2'' | Pcs | 1 |  |  |
| 2.10 | G.I.S water meter 2'' | Pcs | 1 |  |  |
| 2.11 | G.I.S Nipples 2'' | Pcs | 1 |  |  |
| 2.12 | G.I.S reducer 2'' to 1'' | Pcs | 1 |  |  |
|  | Sub-Total (2) | Birr |  |  |  |
|  | Total for Distribution pipeline | Birr |  |  |  |

| Bill of Quantity for Pipe expansion works |
| --- |
|  | Public Fountain With Fencing |  |  |  |  |
| S/No. | Description of Activities | Unit | Qty | Unit Rate (ETB) | Total Cost (ETB) |
| 1 | Excavation and Earth work |  |  |  |  |
| 1.1 | Clearing and striping of top soil to a minimum depth of 200mm inside the fenced compound of each water point | m2 | 65.25 |  |  |
| 1.2 | Excavation for foundation, soak away pit and valve chamber | m3 | 13.81 |  |  |
| 1.3 | Provide and compact selected material in layers of 150mm | m3 | 5 |  |  |
| 1.4 | Provide and fill hard core with hard basaltic or equivalent stone, well compacted and blinded with crushed stone and in 250mm. | m2 | 22.50 |  |  |
| 1.5 | Cart away and dispose all excavated material to appropriate distance not exceeding 100m. | m3 | 26.86 |  |  |
|  | Sub Total (1) | Birr |  |  |  |
| 2 | Concrete Work |  |  |  |  |
| 2.1 | C-15 lean concrete | m2 | 27.04 |  |  |
| 2.2 | C-25 Mass concrete | m3 | 0.45 |  |  |
| 2.3 | C-25 R. concrete for tie beam | m3 | 1.92 |  |  |
| 2.4 | Provide and fix wooden formwork or equivalent | m2 | 4.00 |  |  |
| 2.5 | Provide, cut, and fix in position reinforced steel bar all according to structural drawing, Price shall include tying wires |  |  |  |  |
| 2.5.1 | Ø6 mm plain reinforcement bar | Kg | 26.64 |  |  |
| 2.5.2 | Ø10 mm deformed reinforcement bar | Kg | 61.00 |  |  |
|  | Sub Total (2) | Birr |  |  |  |
| 3 | Masonry Work |  |  |  |  |
| 3.1 | Provide and construct 400mm thick rachitic masonry wall grouted and filled with (1:3) mortar for foundation and super structure | m3 | 6.90 |  |  |
| 3.2 | Plastering to smooth finish for water point, wall and surface | m2 | 18.97 |  |  |
| 3.3 | Mass concrete pavement around the water point with drainage ditch as per the drawing (200 mm thick with 1:3 mortar) | m3 | 4.60 |  |  |
|  | Sub Total (3) | Birr |  |  |  |
| 4 | Class "B" pipe and fitting works |  |  |  |  |
| 4.1 | Supplying and installing GS pipes |  |  |  |  |
| 4.1.1 | DN 1 1/2 " GS | M | 12.00 |  |  |
| 4.1.2 | DN 3/4" GS | M | 3.00 |  |  |
| 4.2 | Supplying and fixing fittings |  |  |  |  |
| 4.2.1 | Cross Tee DN 1 1/2" | No | 2.00 |  |  |
| 4.2.2 | Reducer 1 1/2"x3/4" | No | 6.00 |  |  |
| 4.2.3 | Tee DN 1 1/2" | No | 1.00 |  |  |
| 4.2.4 | DN 1 1/2" Bend (elbow) 90 degree | No | 5.00 |  |  |
| 4.2.5 | Faucet DN 3/4" | No | 6.00 |  |  |
| 4.2.6 | Socket DN 3/4" | No | 6.00 |  |  |
| 4.2.7 | Gate Valve DN 1 1/2" | No | 1.00 |  |  |
| 4.2.8 | Union DN 1 1/2" | No | 1.00 |  |  |
| 4.2.9 | Nipple DN 1 1/2" | No | 8.00 |  |  |
| 4.2.10 | Water meter DN 1 1/2" | No | 1.00 |  |  |
| 4.3 | Construct valve chamber for water meter and gate valve, covered with 800*900*6mm sheet metal with latch and lock as per the drawing | No | 1.00 |  |  |
|  | Sub Total (4) | Birr |  |  |  |
| 5 | Drainage Works |  |  |  |  |
| 5.1 | Concrete drainage ditch from water point to soak away pit as per the drawing. Price including excavation and any other incidental works. | M | 2.00 |  |  |
| 5.2 | Supply and place boulders, crashed aggregate and sand to form the soak away as per the drawing | M3 | 0.55 |  |  |
|  | Sub Total (5) | Birr |  |  |  |
| 6 | Formwork |  |  |  |  |
| 5.1 | Supply and prepare 25mm thick wooden formwork for walls. Cost include supply of all necessary materials and placing in position. | M2 | 14.23 |  |  |
|  | Sub Total (6) | Birr |  |  |  |
| 7 | Fence Work |  |  |  |  |
| 7.1 | Barbed wires fencing consists of 2.5mm barbed wire horizontal and diagonal member fixed to 2500mm long wooden posts spaced every 2000mm , including all necessary material as per the drawing. | m2 | 65.25 |  |  |
| 7.2 | Supply and fix sheet metal gate 2.1*1.2m, framed with 1.5mm thick LTZ profile, has and with lock and latch | No | 1.00 |  |  |
|  | Sub Total (7) | Birr |  |  |  |
|  | Total for One Public Fountain | Birr |  |  |  |

| II. Cattle trough construction |
| --- |
| S/No | Description of works | Unit | Qty. | Unit Rate | Total Amount |
| 1.1 | Earth work |  |  |  |  |
| 1.1.1 | Site clearing up to adepth of 20cm to remove top vegitative soil | m2 | 80 |  |  |
| 1.1.2 | Excavation work for foundation up to a depth of 50 cm to reduce level for placing hard core | m3 | 10 |  |  |
| 1.1.3 | Carting away of excavated soil to adistance not exceeding 500meter | m3 | 10 |  |  |
| 1.1.4 | Filling and spread under hard core with selected site material & compact in layers not exceeding to a thickness of 15cm as per the recommendation of the supervising Engineer | m2 | 20 |  |  |
|  | Sub Total (1) | Birr |  |  |  |
| 1.2 | Masonry work |  |  |  |  |
| 1.2.1 | 25 cm thick basaltic or equivalent stone Hard core well rolled, consolidated & blinded with crushed stone | m3 | 18 |  |  |
| 1.2.2 | Dressed stone masonry wall 40cm height bedded with cemement Sand mortar 1:3in ratio | m3 | 4 |  |  |
| 1.2.3 | 200mm thick and 100cm wide cemented stone pitch pavement blinded & pointed with cement sand mortar 1:3 in ratio | m2 | 49 |  |  |
|  | Sub Total (2) | Birr |  |  |  |
| 1.3 | Concrete work |  |  |  |  |
| 1.3.1 | 5cm thick lean concrete | m2 | 20 |  |  |
| 1.3.2 | Mass concrete for cattle trough walls and floor slab in 1:2:4 ratio | m3 | 7 |  |  |
| 1.3.3 | Apply three coats of plaster in cement mortar 1:2 up to fine finish for the internal surfaces & top rim of the cattle trough including the bottom surface | m2 | 28 |  |  |
| 1.3.4 | Reinforcement bars supply, cut, bend and place in 200mm c/c position for the cattle trough's slab and walls as shown on the drawing |  |  |  |  |
|  | a) Dia 8 mm | kg | 183.20 |  |  |
| 1.3.5 | Point external dressed stone masonary walls | m2 | 20 |  |  |
|  | Sub Total (3) | Birr |  |  |  |
| 1.4 | Manhole |  |  |  |  |
| 1.4.1 | Construction of masonary Gate valve chamber (60X60 X60cm) with cover | No | 1 |  |  |
|  | Sub Total (4) | Birr |  |  |  |
| 1.5 | FORMWORK |  |  |  |  |
| 1.5.1 | Supply and prepare 25mm thick wooden formwork for walls. Cost include supply of all necessary materials and placing in position. | M2 | 10 |  |  |
|  | Sub Total (5) | Birr |  |  |  |
| 1.6 | Plumbing work |  |  |  |  |
| 1.6.1 | Supply and install inlet & drainage GI pipes 2'' in diameter cost includes all necessary fittings (gate valve, union, nipple, elbow, coupling, reducer) & valves and water meter 2'' in diameter | Ls | 1 |  |  |
|  | Sub Total (6) |  |  |  |  |
|  | Total For One Cattle trough | Birr |  |  |  |

Summary of Bill of Quantities and Specifications for Construction of 25 m3 elevated RCC reservoir & Pipeline network installation, two water point and three cattle trough maintenance works to upgrade existing water supply scheme, for Farda one Kebeles of Kebribeyha Woreda of Fafan Zone, Somali Region.

Project Price Summary

- 25 m3 elevated RCC reservoir & Pipeline network, ETB______________

- Maintenance of Two Water-Point, ETB_____________________

- Maintenance of Three Cattle Trough, ETB___________________

Total for the project, ETB_________________________________________________

Rebate (____%), ETB ____________________________________________________

Total after Rebate, ETB _________________________________________________

15% VAT, ETB __________________________________________________________

Grand Total after Rebate and VAT for the project, ETB _________________

| I. 25m3 RCC Elevated reservoir for Farda-One kebele of Kebribeyha Woreda-Fafan Zone |
| --- |
| S/No | Description of works | Unit | Qty. | Unit Rate | Total Amount |
|  | 1. Excavation and Earth Work |  |  |  |  |
| 1.1 | Site clearing & grubbing up to a average depth of 20 cm to remove top vegetated soil | m2 | 49.00 |  |  |
| 1.2 | Bulk excavation in all soil formation to depth not greater than 1.5m for the isolated footing | m3 | 20.00 |  |  |
| 1.3 | Ditto but to depth upto 2.5m | m3 | 13.00 |  |  |
| 1.4 | Cart away excavated material, deposit and spread to appropriate distance not exceeding 1 km | m3 | 40.00 |  |  |
| 1.5 | Fill 150 mm thick hard trachyte stone hard core to reservoir foundation and valve chamber, including for sloping section | m2 | 16.00 |  |  |
| 1.6 | Selected material fill and compaction for foundation with 25cm working space in both sides | m3 | 15.00 |  |  |
|  | Sub-Total (1) | Birr |  |  |  |
|  | 2. Concrete Work |  |  |  |  |
| 2.1 | The price for concrete shall include the cost of labor, equipment, supply of materials as well as mixing, placing and curing |  |  |  |  |
| 2.2 | Class C-15 concrete blinding layers 5cm. thick to reservoir and valve room, including for sloping section | m2 | 15.00 |  |  |
| 2.3 | Class C-30 in isolated foundation pads | m3 | 2.70 |  |  |
| 2.4 | Ditto but in Columns | m3 | 4.60 |  |  |
| 2.5 | Ditto but in Bracing | m3 | 2.10 |  |  |
| 2.6 | Class C-30 Bottom ring beam | m3 | 2.10 |  |  |
| 2.7 | Ditto but in Intermediate beam C 30 | m3 | 0.45 |  |  |
| 2.8 | Ditto but in Bottom Slab of reservoir C 30 | m3 | 4.60 |  |  |
| 2.9 | Ditto but in Wall of reservoir C 30 | m3 | 10.50 |  |  |
| 2.10 | Ditto but in Dome of reservoir (top) C 30 | m3 | 3.10 |  |  |
| 2.11 | Reinforcement bar work |  |  |  |  |
| 2.12 | Class I Reinforcement Steel (T = 1400 Kg/Cm2) |  |  |  |  |
| 2.13 | Supply cut, bend and fix in position high yield steel reinforcement bars of dia 8mm |  |  |  |  |
|  | a) 8 mm. dia | kg | 450.00 |  |  |
|  | b) 10 mm. dia | kg | 607.00 |  |  |
|  | c) 12 mm. dia | kg | 480.00 |  |  |
|  | d) 14 mm. dia | kg | 1674.00 |  |  |
|  | e) 16 mm. dia | kg | 2100.00 |  |  |
|  | Sub-Total (2) | Birr |  |  |  |
|  | 3. Form work |  |  |  |  |
|  | 3.1 Supply, fix and remove form work for footing pads,columns, slab, wall, dome and beams |  |  |  |  |
|  | 3.1.1 Footing pads | m2 | 10.00 |  |  |
|  | 3.1.2 Columns | m2 | 75.00 |  |  |
|  | 3.1.3 Bracing beams | m2 | 38.40 |  |  |
|  | 3.1.4 Ring beam | m2 | 18.80 |  |  |
|  | 3.1.5 Intermediate beam | m2 | 9.45 |  |  |
|  | 3.1.6 Slab (bottom) | m2 | 28.00 |  |  |
|  | 3.1.7 Concrete wall | m2 | 104.00 |  |  |
|  | 3.1.8 Dome (top slab) | m2 | 16.00 |  |  |
|  | Sub-Total (3) | Birr |  |  |  |
|  | 4. Pipe Works |  |  |  |  |
| 4.1 | Supply and installation of inlet pipe in GS pipe DN 3" (80mm) , as shown in the drawing. | m | 18.00 |  |  |
| 4.2 | Supply and installation of outlet pipe in GS pipe DN 3" (80mm) , as shown in the drawing. | m | 18.00 |  |  |
| 4.3 | Supply and installation of drainage and overflow pipes in GS pipe DN 3" (80mm) , as shown in the drawing. | m | 18.00 |  |  |
| 4.4 | Construct outlet Valve chamber in 10cm thick RC wall ,inside dimension 80cmx80cmx100cm and 7cm thick cover and as shown in the drawing, | LS | 1.00 |  |  |
| 4.5 | Ditto but drainage and overflow Valve chamber in 10cm thick RC wall ,inside dimension 80cmx80cmx100cm and 7cm thick cover and as shown in the drawing, | LS | 1.00 |  |  |
|  | Sub-Total (4) | Birr |  |  |  |
|  | 5.Miscellaneous |  |  |  |  |
| 5.1 | Supply and build-in Complete DN 100mm GS ventilation pipe as detailed | m | 2.00 |  |  |
| 5.2 | Provide and install 300mm wide water stop made of natural or synthetic rubber or elastomeric plastic compound with basic risen polyenyl chloride (PVC) | m | 45.77 |  |  |
| 5.3 | Supply and fix steel ladder with 1 1/2" GI pipe with extended stringers 40cm C/C and 60cm width for reservoir and valve room as shown in the drawing | m | 15.00 |  |  |
|  | Sub-Total (5) | Birr |  |  |  |
|  | 6. Accessories and finishing |  |  |  |  |
| 6.1 | Provide and apply 50 mm cement screed to the reservoir floor and roof slab to valve chamber | m2 | 50.00 |  |  |
| 6.2 | Provide and apply 3 coats of plaster to internal walls and to embedded part of external wall surface | m2 | 53.85 |  |  |
| 6.3 | Rendering external wall | m2 | 53.85 |  |  |
| 6.4 | Leakage test for reservoir & pipe work | LS | 1.00 |  |  |
| 6.5 | Supply and install Bypass chlorination Equipment at the top slab of the reservior or outlet point (wherever applicable), complete with baffle and weir plate, able to transmit a minimum of 30.8m3/hr flow rate, 0.5 to 6bar operating pressure, installed below ground as an inline fitting along the 3" GI pressure main line in agreement with the supervising Engineer. | LS | 1.00 |  |  |
|  | Sub-Total (6) | Birr |  |  |  |
|  | Total for 25 m3 RCC reservoir | Birr |  |  |  |

| Bill of Quantity for Pipe expansion works |
| --- |
|  | Public Fountain Maintenance With Fencing |  |  |  |  |
| S/No. | Description of Activities | Unit | Qty | Unit Rate (ETB) | Total Cost (ETB) |
| 1 | Excavation and Earth work |  |  |  |  |
| 1.1 | Clearing and striping of top soil to a minimum depth of 200mm inside the fenced compound of each water point | m2 | 30.00 |  |  |
| 1.2 | Cart away and dispose all excavated material to appropriate distance not exceeding 100m. | m3 | 10.00 |  |  |
|  | Sub Total (1) | Birr |  |  |  |
| 2 | Masonry Work |  |  |  |  |
| 2.1 | Chisel water point wall and pavement around and make ready for plastering | m2 | 24.00 |  |  |
| 2.2 | Plastering to smooth finish for water point, wall and surface | m2 | 18.97 |  |  |
| 2.3 | Mass concrete pavement around the water point with drainage ditch as per the drawing (200 mm thick with 1:3 mortar) | m3 | 4.60 |  |  |
|  | Sub Total (3) | Birr |  |  |  |
| 3 | Class "B" pipe and fitting works |  |  |  |  |
| 3.1 | Supplying and installing GS pipes |  |  |  |  |
| 3.1.1 | DN 1 1/2 " GS | M | 40.00 |  |  |
| 3.1.2 | DN 3/4" GS | M | 3.00 |  |  |
| 3.2 | Supplying and fixing fittings |  |  |  |  |
| 3.2.1 | Reducer 1 1/2"x3/4" | No | 6.00 |  |  |
| 3.2.2 | Faucet DN 3/4" | No | 6.00 |  |  |
| 3.2.3 | Socket DN 3/4" | No | 6.00 |  |  |
| 3.2.4 | Gate Valve DN 3/4" | No | 1.00 |  |  |
| 3.2.5 | Union DN 3/4" | No | 1.00 |  |  |
| 3.2.6 | Nipple DN 3/4" | No | 8.00 |  |  |
| 3.2.7 | Water meter DN 3/4" | No | 1.00 |  |  |
| 3.3 | Construct valve chamber for water meter and gate valve, covered with 800*900*6mm sheet metal with latch and lock as per the drawing | No | 1.00 |  |  |
|  | Sub Total (4) | Birr |  |  |  |
| 4 | Drainage Works |  |  |  |  |
| 4.1 | Concrete drainage ditch from water point to soak away pit as per the drawing. Price including excavation and any other incidental works. | M | 2.00 |  |  |
| 4.2 | Supply and place boulders, crashed aggregate and sand to form the soak away as per the drawing | M3 | 0.55 |  |  |
|  | Sub Total (5) | Birr |  |  |  |
| 5 | Fence Work |  |  |  |  |
| 5.1 | Barbed wires fencing consists of 2.5mm barbed wire horizontal and diagonal member fixed to 2500mm long wooden posts spaced every 2000mm , including all necessary material as per the drawing. The price shall include demolishing the existing fence | m | 25.00 |  |  |
| 5.2 | Supply and fix sheet metal gate 2.1*1.2m, framed with 1.5mm thick LTZ profile, has and with lock and latch | No | 1.00 |  |  |
|  | Sub Total (7) | Birr |  |  |  |
|  | Total for One Public Fountain | Birr |  |  |  |

| III. Pipeline Network Installation |
| --- |
| S/No | Description of works | Unit | Qty. | Unit Rate | Total Amount |
|  | 1. Excavation and Earth Work |  |  |  |  |
| 1.1 | Trench excavation in hard soil and rock formation to an average depth of 80cm and width of 60cm | M | 225 |  |  |
| 1.2 | Backfill and compact all excavated materials | M | 225 |  |  |
|  | Sub-Total (1) | Birr |  |  |  |
|  | 2. Pipeline network installation |  |  |  |  |
| 2.1 | Supply, join and laying of pipe and fittings |  |  |  |  |
| 2.2 | G.I.S pipe, class-B and 3'' in diameter | M | 75 |  |  |
| 2.3 | G.I.S pipe, class-B and 2'' in diameter | M | 100 |  |  |
| 2.4 | G.I.S pipe, class-B and 1 1/2'' in diameter | M | 50 |  |  |
| 2.5 | G.I.S coupling 2'' | Pcs | 20 |  |  |
| 2.6 | G.I.S union, 2'' | Pcs | 10 |  |  |
| 2.7 | G.I.S elbow 90 degree | Pcs | 10 |  |  |
| 2.8 | G.I.S reducer 3'' to 2'' | Pcs | 1 |  |  |
| 2.9 | G.I.S reducer 2'' to 1 1/2'' | Pcs | 1 |  |  |
| 2.10 | G.I.S water meter 2'' | Pcs | 1 |  |  |
| 2.11 | G.I.S Nipples 2'' | Pcs | 1 |  |  |
| 2.12 | G.I.S reducer 2'' to 1'' | Pcs | 1 |  |  |
|  | Sub-Total (2) | Birr |  |  |  |
|  | Total for Distribution pipeline | Birr |  |  |  |

| II. Cattle trough Maintenance |
| --- |
| S/No | Description of works | Unit | Qty. | Unit Rate | Total Amount |
| 1.1 | Masonry work |  |  |  |  |
| 1.2.1 | Demolish and remove the existing pavement around the cattle trough | m2 | 49 |  |  |
| 1.2.2 | 200mm thick and 150cm wide cemented stone pitch pavement blinded & pointed with cement sand mortar 1:3 in ratio | m2 | 49 |  |  |
|  | Sub Total (2) | Birr |  |  |  |
| 1.3 | Concrete work |  |  |  |  |
| 1.3.1 | Chisel parts of the cracked concrete surface and make ready for maintenance and repair. | m2 | 15 |  |  |
| 1.3.2 | Apply three coats of plaster in cement mortar 1:2 up to the chiseled parts of the internal surfaces & top rim of the cattle trough including the bottom surface | m2 | 15 |  |  |
|  | Sub Total (3) | Birr |  |  |  |
| 1.4 | Manhole |  |  |  |  |
| 1.4.1 | Demolish and remove the existing valve chamber | No | 1 |  |  |
| 1.4.2 | Construction of masonary Gate valve chamber (60X60 X60cm) with cover | No | 1 |  |  |
|  | Sub Total (4) | Birr |  |  |  |
| 1.6 | Plumbing work |  |  |  |  |
| 1.6.1 | Supply and install inlet & drainage GI pipes 2'' in diameter cost includes all necessary fittings (gate valve, union, nipple, elbow, coupling, reducer) & valves and water meter 2'' in diameter | Ls | 1 |  |  |
|  | Sub Total (6) |  |  |  |  |
|  | Total For One Cattle trough | Birr |  |  |  |

Appendix 4:

DRAWINGS

- 50m3 Elevated Reservoir

- 25m3 Elevated Reservoir

- Public Fountain/Water point detail drawing

- Cattle trough

# APPENDIX 5 - GOAL TERMS AND CONDITIONS

- LEGAL STATUS

The Vendor shall be considered as having the legal status of an independent contractor vis-à-vis GOAL.  The Vendor, its personnel and sub-contractors shall not be considered in any respect as being the employees of GOAL. The Vendor shall be fully responsible for all work and services performed by its employees, and for all acts and omissions of such employees.

II.	SUB-CONTRACTING

In the event the Vendor requires the services of a sub-contractor, the Vendor shall obtain the prior written approval of GOAL for all sub-contractors.  The Vendor shall be fully responsible for all work and services performed by its sub-contractors and vendors, and for all acts and omissions of such sub-contractors and vendors.  The approval of GOAL of a sub-contractor shall not relieve the Vendor of any of its obligations under this Contract.  The terms of any sub-contract shall be subject to and conform with the provisions of this Contract.

III. 		OBLIGATIONS

The Vendor shall neither seek nor accept instructions from any authority external to GOAL.  Vendors may not communicate at any time to any other person, government or authority external to GOAL  any information known to them by reason of their association with GOAL which has not been made public, except in the course of their duties or by authorization of the GOAL: nor shall Vendors at any time use such information to private advantage.  These obligations do not lapse upon termination/expiration of their agreement with GOAL.

IV.	ACCEPTANCE AND ACKNOWLEDGEMENT

Initiation of performance under this contract by the vendor shall constitute acceptance of the contract, including all terms and conditions herein contained or otherwise incorporated by reference.

V.	WARRANTY

The Vendor warrants the goods furnished under this Contract to conform to the specifications and to be free from damage and defects in workmanship or materials.  This warranty is without prejudice to any further guarantees that the Vendor provides to purchasers.  Such guarantees shall apply to the goods subject to this Contract.

VI.	INSPECTION

The duly accredited representatives of GOAL or the donor shall have the right to inspect the goods called for under this Contract at Vendor’s stores, during manufacture, in the ports or places of shipment, and the Vendor shall provide all facilitates for such inspection.  GOAL may issue a written waiver of inspection at its discretion.  Any inspection carried out by representatives of GOAL or the donor or any waiver thereof shall not prejudice the implementation of the other relevant provisions of this Contract concerning obligations subscribed by the Vendor, such as warranty or specifications.

VII.	EXPORT LICENCE

The Contract is subject to the obtaining of any export licence or other governmental authorisation that may be required.  It shall be the responsibility of the Vendor to obtain such licence or authorisation. GOAL may, at its discretion, use its best endeavours to assist.

VIII. 	 OFFICIALS NOT TO BENEFIT

The Vendor represents and warrants that no official of GOAL has been, or shall be, offered by the Vendor any direct or indirect benefit arising from this Contract or the award thereof.  The Vendor agrees that breach of this provision is breach of an essential term of this Contract.

IX 	FORCE MAJEURE

For the purposes of this Contract, force majeure means any act of God, act of war, civil disturbance, explosion, fire, any law or action taken by a government or public authority or other exceptional event which is unforeseeable in the circumstances, which cannot be overcome and which prevents, hinders or delays either party from performing any of its obligations under this Contract. As soon as possible and in any event within five (5) working days after the occurrence of a force majeure event, the affected party shall give notice and full particulars to the other party in writing. The affected party shall not be in breach of this Contract nor liable for delay in performing its obligations under this does Contract if and to the extent that such delay is directly caused by the force majeure event provided that such party uses best endeavour to limit the effect of the force majeure event on the performance of its obligations. If such a period of delay or non-performance by the Vendor continues for ten (10) working days, GOAL may terminate this agreement by giving five (5) days' written notice to the Vendor.

X.	DEFAULT

In case of default by the Vendor, including, but not limited to, failure or refusal to make deliveries within the limit specified, GOAL may procure the goods or services from other sources, and hold the Vendor responsible for any excess cost occasioned thereby.  Furthermore, GOAL may, by written notice, terminate the right of the Vendor to proceed with deliveries or such part or parts thereof as to which there has been default.

XI.	REJECTION

In the case of goods or services purchased based on specifications or scope of works, GOAL shall have the right to reject the goods or services or any part thereof if they do not conform to specifications or the scope of works.

XII.	AMENDMENTS

No change in or modification of this Contract shall be made except by prior agreement between the Responsible Buyer in GOAL and the Vendor.

XIII.	ASSIGNMENTS

The Vendor shall not assign, transfer, pledge or make other disposition of this Contract or any part thereof or of any of the Vendor’s rights, claims or obligations under this Contract except with the prior written consent of GOAL.

XIV.	INDEMNIFICATION

The Vendor agrees to indemnify, hold and save GOAL harmless and defend at its own expense GOAL, its officers, agents and employees from and against all suits, claims, demands and liability of whatever nature or kind, including costs and expenses thereof and liability arising there from, with respect to, arising from or attributable to acts or omissions of the Vendor or its employees or sub-contractors in or relating to the performance of this Contract.  This provision shall extend to, but shall not be limited to, claims and liability in the nature of product liability claims.

GOAL will promptly notify the Vendor of any such suit, claim, proceeding, demand or liability within a reasonable period of time after having received written notice thereof, and will reasonably co-operate with the Vendor, at the Vendor’s expense, in the investigation, defence or settlement thereof, subject to the privileges and immunities of GOAL.

The Vendor shall not permit any lien, attachment or other encumbrance by any person or entity to remain on file in any public or official office or on file with GOAL against any monies due or to become due for any work done or materials furnished under this Contract, or by reason of any other claim or demand against the Vendor.

XV.	DISPUTES - ARBITRATION

Any claim or controversy arising out of or relating to this or any contract resulting here from, or to the breach, termination or invalidity thereof, shall be, unless settled amicably through negotiation, submitted to arbitration in accordance with Ethiopian law.

XVI.	USE OF NAME, EMBLEM OR OFFICIAL SEAL

Unless authorised in writing by GOAL, the Vendor shall not advertise or otherwise make public the fact that he is a Vendor to GOAL or use the name, emblem or official seal of GOAL or any abbreviation of the name of GOAL for advertising purposes or for any other purposes.

XVII.	LIQUIDATED DAMAGES

Late delivery, or dispatch outside the agreed shipping schedule, shall be subject, without notice, to an assessment of liquidated damages equivalent to 1 percent of the Contract value per day or part thereof.  GOAL has the right to deduct this amount from the Vendor’s outstanding invoices, if any.  This remedy is without prejudice to any others that may be available to GOAL, including cancellation, for the Vendor’s non-performance, breach or violation of any term or condition of the Contract.

Acceptance of goods delivered late shall not be deemed a waiver of GOAL’s rights to hold the Vendor liable for any loss and/or damage resulted therefrom, nor shall it act as a modification of the vendor’s obligation to make future deliveries in accordance with the delivery schedule.

XVIII.	ANTI-BRIBERY/CORRUPTION

The Vendor shall comply with all applicable laws, statutes and regulations relating to anti-bribery and anti-corruption including but not limited to the UK Bribery Act 2010 and the the United States Foreign Corrupt Practices Act 1977 (“Relevant Requirements”).

The Vendor shall have and maintain in place throughout the term of any contract with GOAL its own policies and procedures to ensure compliance with the Relevant Requirements.

No monies are payable to GOAL by the Vendor in association with the execution of this contract. If the Vendor is approached by a GOAL member of staff for a payment, commission, ‘kickback’ or associated payment or any other advantage of any kind, they are obliged to report the request or payment directly to GOAL’s Country Director within thirty-six hours. Failure to report any request for payment by a GOAL member of staff or actual payment by the Vendor to a GOAL member of staff to the GOAL Country Director shall result in the immediate termination of any contract and may result in disqualification of the Vendor from participation in future contracts with GOAL.

XIX.	ANTI-PERSONNEL MINES

The Vendor guarantees that it is not engaged in the sale or manufacture, either directly or indirectly, of anti-personnel mines or any components produced primarily for the operation thereof.  Any breach of this representation and warranty shall entitle GOAL to terminate this Contract immediately upon notice to the Vendor, at no cost to GOAL.

XX.	ETHICAL PROCUREMENT

The Vendor represents and warrants that neither it, nor any of its vendors is engaged in any practice inconsistent with the following code of conduct for vendors: Employment is freely chosen, freedom of association and the right to collective bargaining are respected, working conditions are safe and hygienic, no child labour/protection of children is ensured, living wages are paid, working hours are not excessive, no discrimination is practiced, regular employment is provided, no harsh or inhumane treatment is allowed, any harm to the environment shall be avoided or limited.  Any breach of this representation and warranty shall entitle GOAL to terminate this Contract immediately upon notice to the Vendor, at no cost to GOAL.

XXI. 	VENDOR INELIGIBILITY

Candidates that fall into any of the following categories are ineligible to participate in GOAL procurement processes: (a) They are bankrupt or being wound up, are having their affairs administered by the courts, have entered into an arrangement with creditors, have suspended business activities, are the subject of proceedings concerning those matters, or are in any analogous situation arising from a similar procedure provided for in national legislation or regulations; (b) They have been convicted of an offence concerning their professional conduct by a judgement that has the force of res judicata; (c) They have been guilty of grave professional misconduct proven by any means that the contracting authority can justify; (d) They have not fulfilled obligations relating to the payment of social security contributions or the payment of taxes in accordance with the legal provisions of the country in which they are established or with those of the country of the contracting authority or those of the country where the contract is to be performed; (e) They have been the subject of a judgement that has the force of res judicata for fraud, corruption, involvement in a criminal organisation or any other illegal activity; (f) Following another procurement procedure or grant award procedure, they have been declared to be in serious breach of contract for failure to comply with their contractual obligations;

XXII.	VENDOR EXCLUSION

Negotiation with vendors or potential vendors may be severed at any stage during a procurement process if it is found that they meet either of the following exclusion criteria: (a) Are subject to a conflict of interest; (b) Are guilty of misrepresentation in supplying the information required by GOAL as a condition of participation in the contract procedure, or fail to supply all of the information requested.

XXIII.	PRIOR NEGOTIATIONS SUPERSEDED BY CONTRACT

This Contract supersedes all communications, representations, arrangements, negotiations, requests for proposals and proposals related to the subject matter of this Contract.

XXIV.	INTELLECTUAL PROPERTY INFRINGEMENT

The Vendor warrants that the use or supply by GOAL of the goods sold under this Contract does not infringe on any patent, design, tradename or trademark.  In addition, the Vendor shall, pursuant to this warranty, indemnify, defend and hold GOAL harmless from any actions or claims brought against GOAL pertaining to the alleged infringement of a patent, design, trade-name or trade-mark arising in connection with the goods sold under this Contract.

XXV. 	TITLE RIGHTS

GOAL shall be entitled to all property rights including but not limited to patents, copyrights and trademarks, with regard to material which bears a direct relation to, or is made in consequence of, the services provided to the organisation by the Vendor. At the request of GOAL, the Vendor shall take all necessary steps, execute all necessary documents and generally assist in securing such property rights transferring them to the organisation in compliance with the requirements of the applicable law.

Title to any equipment and supplies which may be furnished by GOAL and any such equipment shall be returned to GOAL at the conclusion of this Contract or when no longer needed by the Vendor.  Such equipment, when returned to GOAL, shall be in the same condition as when delivered to the Vendor, subject to normal wear and tear.

XXVI. 	PACKING

The Vendor shall pack the goods with new, sound materials and with every care, in accordance with the normal commercial standards of export packing for the type of goods specified herein.  Such packing materials used must be adequate to safeguard the goods while in transit.  The Vendor shall be responsible for any damage or loss that can be shown to have resulted from faulty or inadequate packing.

XXVII.	INSURANCE

The vendor shall provide and thereafter maintain for the duration of this contract and any extension thereof all appropriate workmen’s compensation insurance or its equivalent with respect to its employees to cover claims for personal injury and death in connection with this contract. The vendor shall, upon request, furnish proof to the satisfaction of the GOAL, of such liability insurance. The vendor shall further provide such health and medical insurance for its agents and employees, as the vendor may consider advisable.

The Vendor shall have in force and maintain in force during the term of this Contract adequate public liability insurance, product liability insurance and other insurance policies required in connection with its business and in respect of the products and/or services supplied by the Vendor.

XXVIII. 	TERMINATION OF CONTRACT

Termination without default: Either party may terminate this Contract by giving notice in writing to the other party in accordance with this clause XXVIII. The required period of notice shall be five (5) working days in the case of contracts for a total period of less than two months or fifteen (15) working days in the case of contracts for a longer period. In addition, GOAL may terminate this Contract with immediate effect by giving notice in writing to the Vendor if there is a discontinuation or termination (in whole or in part) of donor funding related to this Contract. In the event of the Contract being terminated in accordance with this sub-clause, the Vendor shall be compensated on a pro rata basis for no more than the actual amount of work performed to the satisfaction of GOAL. Additional costs incurred by GOAL resulting from the termination of the Contract by the Vendor may be withheld from any amount otherwise due to the Vendor from GOAL.

Termination with default: Without prejudice to GOAL’s right to terminate this Contract with immediate effect provided for elsewhere in this Contract, GOAL may terminate this Contract with immediate effect without compensation by giving notice in writing to the Vendor where the Vendor: (i) commits a material breach of this Contract which cannot be remedied or has not been remedied within a period of seven (7) days after being notified in writing by GOAL; (ii) ceases to carry on the whole or a substantial part of its business, becomes unable to pay its debts as they fall due, becomes insolvent, enters into any compromise or arrangement with its creditors (other than in the context of solvent reconstruction or amalgamation), is the subject of a resolution to wind up or winding up proceedings, has an administrator, examiner or receiver appointed in respect of some or all of its assets, or being an individual, is the subject of a bankruptcy petition, or any event occurs, or proceeding are taken, with respect to the Vendor in any jurisdiction to which it is subject that has an effect equivalent or similar to any of the foregoing; (iii) commits an offence under anti-terrorism, anti-bribery/corruption or anti-money laundering legislation in any jurisdiction or is involved in organised crime or illegal activity; or (v) undergoes a change of control. GOAL’s termination of this Contract for default whether under this or another provision of this Contract shall be without prejudice to GOAL’s other rights, including but not limited to the right to claim for costs and losses incurred.

XXIX.	ASSIGNMENT OF PERSONNEL

The Contractor shall not assign any persons other than those accepted by GOAL for work performed under this Contract.

XXX.	OVERRIDING CLAUSE

In the event of any conflict or inconsistencies between these Terms and Conditions  or any other document which forms part of the Contract, the contract shall prevail except where they have been amended (by specific reference to the relevant clause and paragraph of these Terms and Conditions) as provided for herein.

XXXI.	WITHHOLDING TAX

GOAL reserves the right to deduct withholding tax from the vendor's invoice if so required by law.  This will apply unless the vendor has supplied in advance the required documentation proving its exemption from withholding tax (e.g. withholding tax exemption certificate).

- ACCESS TO DOCUMENTATION

GOAL, its donors or any of their duly authorized representatives, shall have access to any books, documents, papers, and records of the vendor which are directly pertinent to the specific program for the purpose of making audits, examinations, excerpts and transcriptions

| Signed: |  |
| --- | --- |
| Print name: |  | Position: |  |
| Company Name: |  | Date: |  |
| Address: |  |

# APPENDIX 6 - SUPPLIER CODE OF CONDUCT

In this Supplier Code of Conduct, reference to GOAL will include reference to GOAL in Ireland, GOAL (International) in the UK, GOAL US Fund in the US and all GOAL branches and/or liaison offices, as well as other entities established in programme countries from time to time (together, hereinafter referred to as “GOAL”). This Supplier Code of Conduct should be read in conjunction with the relevant contract entered into between the Supplier and GOAL (“Contract”), GOAL’s Terms and Conditions for Contracts for Procurement of Goods or Services (as applicable), and any other GOAL policy which GOAL may send the Supplier from time to time during the Contract.

Each supplier of GOAL (“Supplier”) is expected to comply with the following Supplier Code of Conduct and is responsible for requiring its employees and any subsidiary, subcontractor and any other third party that the Supplier may use to carry out its obligations under a contract entered into with GOAL (together, “Third Parties”) to abide by this Supplier Code of Conduct, and to provide a copy of this Supplier Code of Conduct to those entities and individuals.

The Supplier Code of Conduct applies to all Suppliers who are requested by GOAL to sign it and all Third Parties who must confirm that they uphold its standards as far as applicable to their status.  GOAL recognises that reaching some of the standards in this Supplier Code of Conduct is a dynamic, continuous process and encourages Suppliers to continually improve their workplace conditions and ensure they have adequate systems and controls in place to monitor Third Parties to ensure compliance with this Supplier Code of Conduct. In line with the size and nature of their business, GOAL expects the Supplier to have management systems in place to support compliance with laws, regulations, and the expectations related to or addressed expressly within this Supplier Code of Conduct. GOAL encourages Suppliers to implement their own written code of conduct.

- RESPECT FOR HUMAN RIGHTS

The Supplier represents and warrants that neither it nor any Third Party violates the fundamental human rights as set out in the International Human Rights instruments adopted by Ethiopia and The African Charter on Human and Peoples’ Rights, 1981 (as may be amended from time to time) including all protocols to the convention.

The Supplier represents and warrants that it will have respect for all fundamental human rights and, in particular, it will respect the dignity and worth of all persons including respect for the equal rights of men and women.

The Supplier undertakes that it and any Third Party will not discriminate directly or indirectly on the grounds of gender, marital status, family status, sexual orientation, religion, age, disability, race, political affiliation, social status, or membership of an ethnic community.

- ILLEGAL ACTIVITY

The Supplier represents and warrants that neither it nor any Third Party are engaged in any sort of illegal activities.

The Supplier represents and warrants that neither it nor any Third Party will excuse or ignore or participate in any corrupt, fraudulent, exploitative, or unethical activities. This includes but is not limited to the trafficking of people, participating in any armed, political, or religious conflict, dealing in illegal drugs, gems or arms or using the services of a sex worker.

The Supplier represents and warrants that neither it nor any Third Party will be under the influence of alcohol or drugs, which includes illegal drugs and misused prescription medication, while engaged by GOAL under a Contract and will be fit to carry out its responsibilities and obligations under that Contract.

- ANTI-CORRUPTION, ANTI-BRIBERY, ANTI-FRAUD, ANTI-MONEY LAUNDERING & CONFLICT OF INTEREST

GOAL has zero tolerance for corruption, bribery, fraud, and money laundering.

The Supplier and each Third Party shall comply with all applicable laws, statutes and regulations relating to anti-bribery, anti-corruption, anti-fraud and anti-money laundering in the county of supply and other applicable laws including but not limited to the Irish Criminal Justice (Money Laundering and Terrorist Financing Act 2010), the Irish Criminal Justice (Corruption Offences) Act 2018, the UK Bribery Act 2010, the UK Proceeds of Crime Act 2002, the UK Money Laundering, Terrorist Financing and Transfer of Funds (Information on the Payer) Regulations 2017, the UK Terrorism Act 2000, the United States Foreign Corrupt Practices Act 1977 and the United States Anti-Money Laundering Act 2020, as may be amended from time to time) (together the “Relevant Requirements”).

Corruption includes benefiting from gifts, advantages, and sexual favours. Therefore, the Supplier and all its Third Parties shall not:

- Exchange money, employment, goods, or services for sexual activity. This includes any exchange of assistance that is due to beneficiaries of assistance.

- Engage in any sexual relationships with beneficiaries of assistance since they are based on inherently unequal power dynamics.

Any conflict of interest on the part of the Supplier or Third Party shall be immediately disclosed to GOAL. The Supplier affirms that it or any Third Party has no current or prior business, professional, personal, financial, political, family, or other interest, including, but not limited to, the representation of other clients, that would conflict in any manner or degree with the performance of its responsibilities and obligations under any Contract. If any such actual or potential conflict of interest arises under any Contract, the Supplier shall immediately inform GOAL in writing of such conflict.

- TERRORISM

The Supplier represents and warrants that neither it nor any of its Third Parties are engaged in any transactions with, and/or the provisions of resources and support to, individuals and organizations associated with terrorism.

The Supplier represents and warrants that neither it nor any of its Third Parties are engaged in any transactions with, and/or the provision of resources and support to, individuals and organizations associated with, receiving any type of training for, or engaged in, any act or offense described in Article 2, Sections 1,3,4 and 5 of the International Convention for the Suppression of the Financing of Terrorism, adopted by the General Assembly of the United Nations in Resolution 54/109 of 9 December 1999.

- ENVIRONMENT

The Supplier represents and warrants that neither it nor any Third Party are violating any international environmental agreements.

The Supplier undertakes to support a precautionary approach to environmental challenges and not in any way cause damage, destruction, or any harm to the environment. Further, the Supplier undertakes to encourage the development and diffusion of environmentally friendly technologies and undertake initiatives to promote environmental responsibility and sustainability.

- MINES AND WEAPONS

The Supplier represents and warrants that neither it nor any Third Party are actively and directly or indirectly engaged in patent activities, development, assembly, production, trade, or manufacture of mines or in such activities in respect of components primarily utilized in the manufacture of anti-personnel mines.

The Supplier represents and warrants that neither it nor any Third Party are actively and directly or indirectly engaged in patent activities, development, assembly, production, stockpiling, trade, or manufacture of weapons including but not limited to firearms, chemical weapons, biological weapons, and nuclear weapons.

- CHILD AND ADULT SAFEGUARDING

The Supplier represents and warrants that it and all its Third Parties are protecting all people from abuse and exploitation, meaning any actual or attempted abuse of a position of vulnerability, differential power, or trust, for sexual purposes, including, but not limited to, profiting monetarily, socially, or politically from the sexual exploitation of another. Similarly, the term "sexual abuse" means the actual or threatened physical intrusion of a sexual nature, whether by force or under unequal or coercive conditions.

Specifically, the Supplier and all its Third Parties will not:

- Engage in sexual activity with anyone under the age of 18, regardless of the age of consent locally (mistaken belief of age being no defence).

- Sexually abuse or exploit children.

- Subject a child to physical, emotional, or psychological abuse, or neglect.

- Engage in any commercially exploitative activities with children including child labour or trafficking.

- Sexually abuse or exploit vulnerable adults.

- Subject a vulnerable adult to physical, emotional, or psychological abuse, or neglect.

- CHILD PROTECTION

The Supplier represents and warrants that neither it, nor any Third Party are engaged in any practice inconsistent with the rights set forth in the Convention on the Rights of the Child, including Article 32 thereof, which, inter alia, requires that a child shall be protected from performing any work that is likely to be hazardous or interfere with the child’s education, or to be harmful to the child’s health or physical, mental, spiritual, moral, or social development.

The Supplier represents and warrants that it and all its Third Parties will comply with this requirement, and that it will raise any concerns or suspicions they have, actual or perceived, of any breach of this clause directly to GOAL.

- FORCED LABOUR

The Supplier represents and warrants that employment is freely chosen and neither it nor any Third Party are using any form of forced, bonded or compulsory labour.

- WORKING CONDITIONS

The Supplier represents and warrants that neither it nor any Third Parties are allowing working conditions that violate the Convention on Occupational Safety and Health from 1981 including the Protocol from 2002, the Convention on Minimum Wage Fixing from 1970 and the Conventions on Hours of Work of the International Labour Organization (ILO) (as may be amended from time to time).

The Supplier represents and warrants that it and all its Third Parties are protecting workers from any acts of physical, verbal, sexual or psychological harassment abuse or threats in the workplace by either their fellow workers or their managers, and that the rights of staff to freedom of association and collective bargaining are respected.

- DISCRIMINATION IN WORKING CONDITIONS

The Supplier represents and warrants that neither it nor any Third Party are discriminating any of its workers regarding race, colour, gender, language, political or other opinion, caste, national or social origin, property, birth, union affiliation, sexual orientation, health status, age, disability, or other distinguishing characteristics.

The Supplier represents and warrants that neither it nor any Third Party are making employment-related decisions, from hiring to termination and retirement which are not based only on relevant and objective criteria.

- TRANSPARENCY, HONESTY, INTEGRITY AND ACCOUNTABILITY

The Supplier represents and warrants that it and any Third Party shall uphold the highest standards of integrity, honesty and transparency.

The Supplier undertakes a duty of full disclosure of any relevant material at any time and at the sole discretion of GOAL for GOAL to examine any alleged breach of this Supplier Code of Conduct.

- HUMAN TRAFFICKING & MODERN SLAVERY

The Supplier and each Third Party shall comply with all applicable human trafficking and anti-slavery laws, statutes, regulations, and conventions in force and the Supplier warrants that it has instructed its named personnel, staff, employees, and all its Third Parties to refrain from engaging in human trafficking and/or forced labour. The failure of the Supplier to investigate allegations of human trafficking for whatever purpose, including forced labour, against its staff or related to its activities or to take corrective action when any allegations have been proven to have occurred shall entitle GOAL to end the Contract immediately and without penalty upon notice to the Supplier, at no cost to GOAL.

Suppliers and their employees, and Third Parties (including labour recruiters, brokers, and agents) shall not:

- Engage in trafficking in persons during the period of performance of the contract.

- Procure commercial sex acts during the period of performance of the contract.

- Use forced labour in the performance of the Contract.

- Destroy, conceal, confiscate, or otherwise deny access by an employee to the employee’s identity or immigration documents, regardless of issuing authority.

- Use misleading or fraudulent practices during the recruitment of employees or offering of employment, such as failing to disclose, in a format and language accessible to the worker, basic information; or making material misrepresentations during the recruitment of employees regarding the key terms and conditions of employment; or use recruiters who do not comply with local labour law

- Charge recruitment fees to employees or potential employees

- Fail to provide or pay for return transportation at the end of employment for employees who are not nationals of the country and were brought into the country for the express purpose of working on a GOAL contract or subcontract, unless that individual is legally permitted to and chooses to remain, or the employer is exempted from this requirement in writing by GOAL

- Where applicable, fail to provide or arrange housing that fails to meet national standards for housing and safety

- Fail to provide an employment contract, recruitment agreement or other required work document in writing, in a language the employee understands, as required by law.

Should the Supplier become aware of, or suspect, human trafficking activities during the execution of the contract the Contractor must immediately inform GOAL to enable appropriate action to be taken.

- WHISTLEBLOWING AND REPORTING

The Supplier represents and warrants that it and any Third Party shall raise any genuine concerns about actual or perceived wrongdoing by GOAL staff members, board members, partners of GOAL, other suppliers, contractors, volunteers, and communities.

GOAL also expects each Supplier to provide their own employees with avenues for raising legal or ethical issues or concerns without fear of retaliation. We expect each supplier to take action to prevent, detect, and correct any retaliatory actions. If the Supplier does not have its own reporting mechanism then it should provide their employees with GOAL’s email address: speakup@goal.ie to raise any legal or ethical issues or concerns; or through the externally managed hotline, Safecall: www.safecall.co.uk/report,  goal@safecall.co.uk., +44 191 5167764

- BREACH

Any breach of the representations and warranties of this Supplier Code of Conduct will be considered as gross misconduct and abusive behavior, which cannot be tolerated. As such, GOAL will have the right to withhold payment and postpone the goods or services (as applicable) to be provided under the Contract to enable GOAL to undertake a thorough investigation of any alleged breach of any representation, warranty or undertaking given by the Supplier or Third Party of this Supplier Code of Conduct. Upon the outcome of the investigation, GOAL will inform the relevant Supplier of its findings and will either (i) continue the Contract making such necessary amendments to the Contract as may be required to strengthen the terms of the Contract; or (ii) terminate the Contract with the Supplier immediately at no cost to GOAL. Upon such termination, GOAL reserves the right to make no payment of remaining sums due under the Contract (even when goods or services have been supplied), in instances where GOAL has found that the Supplier or Third Party has breached a representation, warranty or undertaking under this Supplier Code of Conduct.

This Supplier Code of Conduct is hereby acknowledged and agreed by:

| On behalf of |  |
| --- | --- |
| Name |  |
| Signature |  |
| Date |  |
| Place |  |